Classification by product type(Rubber Insulated)　 　　　　　　　 　　Flexible cords

|  |  |  |  |
| --- | --- | --- | --- |
| Factor | | Classification | |
| A | Insulation main materials | 1 | Natural rubber mixture |
| 2 | Ethylene propylene rubber mixture |
| 3 | Others |
| B | Sheath main materials | 1 | Natural rubber mixture |
| 2 | Chloroprene rubber mixture |
| 3 | Flame resistant ethylene rubber mixture |
| 4 | Polyvinyl chloride mixture |
| 5 | Heat resistant polyvinyl chloride mixture |
| 6 | Others |
| C | Conductor type | 1 | Type A |
| 2 | Others |
| D | Core structure | 1 | Same |
| 2 | Different |
| E | Vibration resistance | 1 | With Vibration resistance |
| 2 | Without vibration resistance |
| F | Metal messenger wires | 1 | With metal messenger wires |
| 2 | Without metal messenger wires |

Note：Please mark the factor symbol and classification number　　　　　　　　　　 　　　GM08-rev