Classification by product type (Plastic insulated）　　　　　　　  　　　Plastic insulated cables

| Factor |  | Classification |  |
| --- | --- | --- | --- |
| A | Conductor main materials | 1 | Copper |
|  |  | 2 | Others |
| B | Conductor size | 1 | Stranded conductor with cross section of 8.0㎟ or less Solid conductor with diameter of 3.2mm or less |
|  |  | 2 | Stranded conductor with cross section of exceeding 8.0㎟ and less than 32㎟ Solid conductor with diameter of exceeding 3.2mm |
|  |  | 3 | Stranded conductor with cross section of exceeding 32㎟ |
| C | Insulation main materials | 1 | Polyvinyl chloride mixture |
|  |  | 2 | Heat resistant polyvinyl chloride mixture |
|  |  | 3 | Polyethylene mixture |
|  |  | 4 | Flame resistant polyethylene mixture |
|  |  | 5 | Cross linked polyethylene mixture |
|  |  | 6 | Flame resistant cross linked polyethylene mixture |
|  |  | 7 | Polyester mixture (limited to those flat conductor plastic insulated cables) |
|  |  | 8 | Polypropylene mixture (limited to those flat conductor plastic insulated cables) |
|  |  | 9 | Polycarbonate mixture (limited to those flat conductor plastic insulated cables) |
|  |  | 10 | Silicon rubber mixture |
|  |  | 11 | Heat resistant silicon rubber mixture |
|  |  | 12 | Other mixtures |
| D | Core structure | 1 | Twisted cable conductors |
|  |  | 2 | Wound conductors |
|  |  | 3 | Flat conductors |
|  |  | 4 | Other conductors |
| E | Main applications | 1 | For fixed wiring |
|  |  | 2 | Outdoor use |
|  |  | 3 | Drop service |
|  |  | 4 | Others |

Note：Please mark the factor symbol and classification number　　　　　　　　　　　　     GS01 -rev