Classification by product type (Plastic insulated）　　　　            　　　　Flexible cords

| Factor |  | Classification |  |
| --- | --- | --- | --- |
| A | Insulation main materials | 1 | Polyvinyl chloride mixture |
|  |  | 2 | Heat resistant polyvinyl chloride mixture |
|  |  | 3 | Polyethylene mixture |
|  |  | 4 | Flame resistant polyethylene mixture |
|  |  | 5 | Cross linked polyethylene mixture |
|  |  | 6 | Flame resistant cross linked polyethylene mixture |
|  |  | 7 | Polyolefin mixture |
|  |  | 8 | Flame resistant polyolefin mixture |
|  |  | 9 | Cross linked polyolefin mixture |
|  |  | 10 | Flame resistant cross linked polyolefin mixture |
|  |  | 11 | Other mixtures |
| B | Sheath main materials | 1 | Polyvinyl chloride mixture |
|  |  | 2 | Heat resistant polyvinyl chloride mixture |
|  |  | 3 | Flame resistant polyethylene mixture |
|  |  | 4 | Flame resistant cross linked polyethylene mixture |
|  |  | 5 | Flame resistant polyolefin mixture |
|  |  | 6 | Flame resistant cross linked polyolefin mixture |
|  |  | 7 | Other mixtures |
| C | Conductor type | 1 | Type A |
|  |  | 2 | Others |
| D | Core structure | 1 | Same |
|  |  | 2 | Different |
| E | Vibration resistance | 1 | With Vibration resistance |
|  |  | 2 | Without vibration resistance |
| F | Metal messenger wires | 1 | With metal messenger wires |
|  |  | 2 | Without metal messenger wires |

Note：Please mark the factor symbol and classification number　　　　　　　　　　 　　　GS12-rev